## Hoja1
Código | Descripción
'DP-96/5A | AMPERIMETRO BAW DIG.P/TI/5A 60/2000A
'AMD50CA4 | AMPERIMETRO DIN DIG 1 MOD 50ACA ROJO C/T
'AMD50CA3 | AMPERIMETRO DIN DIG 1 MOD 50ACA VERDE C/
'AEM54M | ANALIZADOR DE ENERGIA TRIFASICO 4 MOD
'AEP96M | ANALIZADOR DE ENERGIA TRIFASICO 96X96
'AEP96LED | ANALIZADOR ENERGIA TRIFASICO 96X96
'IAP20E16 | AUTOMATICO DE PASILLO ELECT 0.5-20M 16A
'BT107-80BL | BARRA AISLADA 7 TOMAS AZUL
'BT107-80B | BARRA AISLADA 7 TOMAS NEGRA
'BT107-80 | BARRA AISLADA 7 TOMAS VERDE
'BT115-80 | BARRA COLECTORA DE TIERRA 15 TOMAS DIN
'B3NT00 | BASE PORTAFUSIBLE TRIP.BAW NT/NH00 160A
'F103810 | CARTUCHO FUSIBLE CILINDRICO 10X38. 10A.
'F103816 | CARTUCHO FUSIBLE CILINDRICO 10X38. 16A.
'F103801 | CARTUCHO FUSIBLE CILINDRICO 10X38. 1A.
'F103820 | CARTUCHO FUSIBLE CILINDRICO 10X38. 20A.
'F103802 | CARTUCHO FUSIBLE CILINDRICO 10X38. 2A.
'F103804 | CARTUCHO FUSIBLE CILINDRICO 10X38. 4A.
'F103806 | CARTUCHO FUSIBLE CILINDRICO 10X38. 6A.
'F103825 | CARTUCHO FUSIBLE CILINDRICO 10X38 25A
'F103832 | CARTUCHO FUSIBLE CILINDRICO 10X38 32A
'SPD275/100C | CARTUCHO P/DESCARGADOR SPD275/1002
'SPD275/20-C | CARTUCHO P/DESCARGADOR SPD275/20
'SPD275/40-C | CARTUCHO P/DESCARGADOR SPD275/40
'SPD275/60-C | CARTUCHO P/DESCARGADOR SPD275/60
'SPD420/100C | CARTUCHO P/DESCARGADOR SPD420/1004
'SPD420/60-C | CARTUCHO P/DESCARGADOR SPD420/60
'CB3A0911B7 | CONT TRIP 4KW-9A BOB 24VCA 1NO+1NC
'CB3A1211M7 | CONT TRIP.5 5KW-12A BOB 220VCA-1NO+1NC
'CB3A2511F7 | CONT TRIP11KW-25A BOB 110VCA 1NO+1NC
'CB3A2511M7 | CONT TRIP11KW-25A BOB 220VCA 1NO+1NC
'CB3A2511B7 | CONT TRIP11KW-25A BOB 24VCA 1NO+1NC
'CB3A2511Q7 | CONT TRIP11KW-25A BOB 380VCA 1NO+1NC
'CB3A3211F7 | CONT TRIP15KW-32A BOB 110VCA 1NO+1NC
'CB3A3211M7 | CONT TRIP15KW-32A BOB 220VCA 1NO+1NC
'CB3A3211B7 | CONT TRIP15KW-32A BOB 24VCA 1NO+1NC
'CB3A3211Q7 | CONT TRIP15KW-32A BOB 380VCA 1NO+1NC
'CB3A0911M7 | CONT TRIP4KW-9A BOB 220VCA 1NO+1NC
'CB3A0911Q7 | CONT TRIP4KW-9A BOB 380VCA 1NO+1NC
'CB3A1211F7 | CONT TRIP5 5KW-12A BOB 110VCA 1NO+1NC
'CB3A1211B7 | CONT TRIP5 5KW-12A BOB 24VCA 1NO+1NC
'CB3A1211Q7 | CONT TRIP5 5KW-12A BOB 380VCA 1NO+1NC
'CB3A1811F7 | CONT TRIP7 5KW-18A BOB 110VCA 1NO+1NC
'CB3A1811M7 | CONT TRIP7 5KW-18A BOB 220VCA 1NO+1NC
'CB3A1811B7 | CONT TRIP7 5KW-18A BOB 24VCA 1NO+1NC
'CB3A1811Q7 | CONT TRIP7 5KW-18A BOB 380VCA 1NO+1NC
'GTM1-CSL11 | CONTACTO AUX. SEÑAL LATERAL
'GTM1-CSF11 | CONTACTO AUX.DE SEÑALIZACION FRONTAL
'GTM1-CDL10 | CONTACTO AUX.POR DISPARO LATERAL
'CB3A3811F7 | CONTACTOR 3P 18.5KW 38A NO+NC BOB 110V
'CB3A3811M7 | CONTACTOR 3P 18.5KW 38A NO+NC BOB 220V
'CB3A3811B7 | CONTACTOR 3P 18.5KW 38A NO+NC BOB 24V
'CB3A3811Q7 | CONTACTOR 3P 18.5KW 38A NO+NC BOB 380V
'CB3A22500M7 | CONTACTOR 3P BAW 110KW 220VCA
'CB3A3210E7 | CONTACTOR 3P BAW 15KW 32A 1NA 48VCA
'CB3A6511M7 | CONTACTOR 3P BAW 30KW 65A 1NO+1NC 220VAC
'CB3A6511B7 | CONTACTOR 3P BAW 30KW 65A 1NO+1NC 24VCA
'CB3A6511Q7 | CONTACTOR 3P BAW 30KW 65A 1NO+1NC 380VAC
'CB3A8011B7 | CONTACTOR 3P BAW 37KW 80A 1NA+1NC 24VCA
'CB3A8011M7 | CONTACTOR 3P BAW 37KW 80A 1NO+1NC 220VAC
'CB3A8011Q7 | CONTACTOR 3P BAW 37KW 80A 1NO+1NC 380VAC
'CB3A9511B7 | CONTACTOR 3P BAW 45KW 95A 1NA+1NC 24VCA
'CB3A9511Q7 | CONTACTOR 3P BAW 45KW 95A 1NA+1NC 380V
'CB3A9511M7 | CONTACTOR 3P BAW 45KW 95A 1NO+1NC 220VAC
'CB3A110M7 | CONTACTOR 3P BAW 55KW 110A 220VAC 50-60H
'CB3A11500M7 | CONTACTOR 3P BAW 55KW 115A 220VAC
'CB3A11500B7 | CONTACTOR 3P BAW 55KW 115A 24VAC
'CB3A145M7 | CONTACTOR 3P BAW 75KW 145A 220VAC 50-60H
'CB3A15000M7 | CONTACTOR 3P BAW 75KW 150A 220VAC
'CB3A15000B7 | CONTACTOR 3P BAW 75KW 150A 24VAC
'CB3A18500M7 | CONTACTOR 3P BAW 90KW 185A 220VAC
'CB3A18500B7 | CONTACTOR 3P BAW 90KW 185A 24VAC
'CB3A3210M7 | CONTACTOR 3P BAW. 15KW 32A 1NA 220VCA
'CB3A1210B7 | CONTACTOR 3P BAW. 5 5KW 12A 1NA 24VCA
'CB3A1210Q7 | CONTACTOR 3P BAW. 5 5KW 12A 1NA 380VCA
'CM25-40M | CONTACTOR 4P 400VCA 4KW 25A BOB=230VCA
'CM25-40B | CONTACTOR 4P 400VCA 4KW 25A BOB=24VCA
'CM25-11M | CONTACTOR MODULAR 1NO+1NC 25A 220V
'CM25-22M | CONTACTOR MODULAR 25A 2NO+2NC 220VCA
'CM25-20M | CONTACTOR MODULAR 2P-25A 2NO 230VCA A-M
'CM25-20B | CONTACTOR MODULAR 2P-25A 2NO 24VCA A-M
'CB3A265M7 | CONTACTOR TRIP.BAW 132KW 265A 220VCA
'CB3A500M7 | CONTACTOR TRIP.BAW 250KW 500A 220VCA
'CB3A630M7 | CONTACTOR TRIP.BAW 335KW 630A 220VCA
'CB3A4011M7 | CONTACTOR3P BAW 18 5KW 40A NA+NC 220VCA
'CB3A4011B7 | CONTACTOR3P BAW 18 5KW 40A NA+NC 24VCA
'CB3A4011Q7 | CONTACTOR3P BAW 18 5KW 40A NA+NC 380VCA
'CB3A5011M7 | CONTACTOR3P BAW 22KW 50A 1NA+1NC 220VCA
'CB3A5011B7 | CONTACTOR3P BAW 22KW 50A 1NA+1NC 24VCA
'CB3A5011Q7 | CONTACTOR3P BAW 22KW 50A 1NA+1NC 380VCA
'DHC3J/L-6 | CONTADOR R= 999999. RESET EXT/MANUAL.
'DHC3J-8AL | CONTADOR R= 99999999. INPUT=110-220CA/CC
'DHC3J/L-8 | CONTADOR R= 99999999. RESET EXT.
'DHC3L-6 | CUENTAHORAS 999999H 59M RESET EXT BAW
'DHC3L-5 | CUENTAHORAS 9999H 59M 59S RESET EXTERNO
'DHC3L-3 | CUENTAHORAS 9999H 59M. RESET EXT/MANUAL
'DHC3L-5A | CUENTAHORAS 9999H 59M 59S INPUT=110-220V
'SPD275/20 | DESCARGADOR SOBRETENSIONES 1P 20KA-1200
'SPD275/40 | DESCARGADOR SOBRETENSIONES 1P 40KA-1200
'SPD440/40B | DESCARGADOR SOBRETENSIONES 1P 440V-40KA
'SPD275/60 | DESCARGADOR SOBRETENSIONES 1P 60KA-1800
'SPD420/60 | DESCARGADOR SOBRETENSIONES 1P 60KA-2400
'SPD275/1002 | DESCARGADOR SOBRETENSIONES 1P+N 100KA-1
'SPD275/20D | DESCARGADOR SOBRETENSIONES 1P+N 20KA-12
'SPD275/10C | DESCARGADOR SOBRETENSIONES 1P+N 275V-10
'SPD275/8D | DESCARGADOR SOBRETENSIONES 1P+N 275V-8K
'SPD420/1004 | DESCARGADOR SOBRETENSIONES 4P 100KA-2 5
'ID225/010 | DISYUNTOR 2X 25A 10MA ''AC''
'IDE225/030 | DISYUNTOR 2X 25A 30MA ''AC''
'ID225/030 | DISYUNTOR 2X 25A 30MA ''AC''
'IDE240/030 | DISYUNTOR 2X 40A 30MA ''AC''
'ID240/030 | DISYUNTOR 2X 40A 30MA ''AC''
'ID263/300 | DISYUNTOR 2X 63A 300MA ''AC''
'ID263/030 | DISYUNTOR 2X 63A 30MA ''AC''
'ID425/030 | DISYUNTOR 4X 25A 30MA ''AC''
'ID440/030 | DISYUNTOR 4X 40A 30MA ''AC''
'ID463/300 | DISYUNTOR 4X 63A 300MA ''AC''
'ID463/030 | DISYUNTOR 4X 63A 30MA ''AC''
'IDA263/100 | DISYUNTOR SELECT 2X 63A 100MA ''S''
'NT00160 | FUSIBLE ACR NT00. IN=160A.GL. ICC 100K
'NT1100 | FUSIBLE ACR NT1. IN=100A.GL. ICC 100KA
'NT1125 | FUSIBLE ACR NT1. IN=125A.GL. ICC 100KA
'NT1160 | FUSIBLE ACR NT1. IN=160A.GL. ICC 100KA
'NT1200 | FUSIBLE ACR NT1. IN=200A.GL. ICC 100KA
'NT1250 | FUSIBLE ACR NT1. IN=250A.GL. ICC 100KA
'NT180 | FUSIBLE ACR NT1. IN=80A.GL. ICC 100KA
'NT2125 | FUSIBLE ACR NT2. IN=125A.GL. ICC 100KA
'NT2160 | FUSIBLE ACR NT2. IN=160A.GL. ICC 100KA
'NT2200 | FUSIBLE ACR NT2. IN=200A.GL. ICC 100KA
'NT2250 | FUSIBLE ACR NT2. IN=250A.GL. ICC 100KA
'NT2315 | FUSIBLE ACR NT2. IN=315A.GL. ICC 100KA
'NT2355 | FUSIBLE ACR NT2. IN=355A.GL. ICC 100KA
'NT2400 | FUSIBLE ACR NT2. IN=400A.GL. ICC 100KA
'NT3315 | FUSIBLE ACR NT3. IN=315A.GL. ICC 100KA
'NT3355 | FUSIBLE ACR NT3. IN=355A.GL. ICC 100KA
'NT3400 | FUSIBLE ACR NT3. IN=400A.GL. ICC 100KA
'NT3500 | FUSIBLE ACR NT3. IN=500A.GL. ICC 100KA
'NT3630 | FUSIBLE ACR NT3. IN=630A.GL. ICC 100KA
'NT41250 | FUSIBLE ACR NT4. IN=1250A.GL. ICC 100K
'NT4800 | FUSIBLE ACR NT4. IN=800A.GL. ICC 100KA
'NT000160 | FUSIBLE ACR NT000 160A GL 100KA
'NT000100 | FUSIBLE ACR NT000 IN=100A GL. ICC 100KA
'NT000125 | FUSIBLE ACR NT000 IN=125A GL. ICC 100KA
'NT00025 | FUSIBLE ACR NT000 IN=25A GL. ICC 100KA
'NT00032 | FUSIBLE ACR NT000 IN=32A GL. ICC 100KA
'NT00036 | FUSIBLE ACR NT000 IN=36A GL.ICC 100KA
'NT00040 | FUSIBLE ACR NT000 IN=40A GL. ICC 100KA
'NT00050 | FUSIBLE ACR NT000 IN=50A GL. ICC 100KA
'NT00063 | FUSIBLE ACR NT000 IN=63A GL. ICC 100KA
'NT0006 | FUSIBLE ACR NT000 IN=6A GL. ICC 100KA
'NT00080 | FUSIBLE ACR NT000 IN=80A GL. ICC 100KA
'NT00010 | FUSIBLE ACR NT000. IN=10A GL. ICC 100KA
'NT00016 | FUSIBLE ACR NT000. IN=16A GL. ICC 100KA
'NT00020 | FUSIBLE ACR NT000. IN=20A GL. ICC 100KA
'GTM1-01 | GUARDAMOTOR 0.1-0.16A
'GTM1-02 | GUARDAMOTOR 0.16-0.25A
'GTM1-03 | GUARDAMOTOR 0.25-0.40A
'GTM1-04 | GUARDAMOTOR 0.40-0.63A
'GTM1-05 | GUARDAMOTOR 0.63-1A
'GTM1-06 | GUARDAMOTOR 1-1.6A
'GTM1-07 | GUARDAMOTOR 1.6-2.5A
'GTM1-20 | GUARDAMOTOR 13-18A
'GTM1-21 | GUARDAMOTOR 17-23A
'GTM1-08 | GUARDAMOTOR 2.5-4A
'GTM1-22 | GUARDAMOTOR 20-25A
'GTM1-10 | GUARDAMOTOR 4-6A
'GTM1-14 | GUARDAMOTOR 6-10A
'GTM1-16 | GUARDAMOTOR 9-14A
'B6EV674MX | INDICADOR OPTICO LED O/I 220VCA ROJO
'B6EV674BBX | INDICADOR OPTICO LED O/I 24VCA-CC ROJO
'B6EV673MG | INDICADOR OPTICO LED TIERRA 220VCA VERD
'41049 | INTERRUPTOR AUTO. TM. BAW M160N 3P R=11
'41055 | INTERRUPTOR AUTO. TM. BAW M160N 3P R=56
'41053 | INTERRUPTOR AUTO. TM. BAW M160N 3P. R=70
'41051 | INTERRUPTOR AUTO. TM. BAW M160N 3P. R=88
'41061 | INTERRUPTOR AUTO. TM. BAW M160N 4P. R=
'41063 | INTERRUPTOR AUTO. TM. BAW M160N 4P. R=
'41065 | INTERRUPTOR AUTO. TM. BAW M160N 4P. R=
'41059 | INTERRUPTOR AUTO. TM. BAW M160N 4P. R=
'IHA150 | INTERRUPTOR HORARIO ANALOGICO
'IHD-150 | INTERRUPTOR HORARIO DIGITAL 50 PROG BAT
'41057 | INTERRUPTOR M160N 3P 160A R44/63A 35KA
'41067 | INTERRUPTOR MAXIM BAW M160.4P R.44/63
'IPSWIFI-10 | INTERRUPTOR SMART WIFI 10A
'IPSWIFI-10+ | INTERRUPTOR SMART WIFI 10A C/MEDICION
'TELE161M P | INTERRUPTOR SMART WIFI 16A DIN
'DHC3M | MARCO COMPLEMENTARIO P/SERIE DHC
'MM2D-65 | MEDIDOR KWH 5+1 DIG 5(65)A-230V-2 MOD.
'MMSW2D65 | MEDIDOR KWH WIFI 6+1 DIG 5(65)A-230V- 2
'DTS726D560W | MEDIDOR KWH WIFI 5(60)A. 3X230/400V-50HZ
'MM1D5-45 | MULTIM. 1 MOD DIN V-A-W-WH-PF 45A-230V
'MTS726D5-60 | MULTIMEDIDOR TRIFASICO DIN KWH-V-A-PF 5-
'PLD5M | PILOTO DIN BAW AMARILLO C/LED 220VCA.
'PLD5EB | PILOTO DIN BAW AMARILLO C/LED 24VCA.
'PLD6M | PILOTO DIN BAW AZUL C/LED 230VCA.
'PLD6EB | PILOTO DIN BAW AZUL C/LED 24VCA.
'PLD1M | PILOTO DIN BAW BLANCO C/LED 230VCA.
'PLD4M | PILOTO DIN BAW ROJO C/LED 220VCA.
'PLD4EB | PILOTO DIN BAW ROJO C/LED 24VCA.
'PLD3M | PILOTO DIN BAW VERDE C/LED 220VCA.
'PLD3EB | PILOTO DIN BAW VERDE C/LED 24VCA.
'B6EV675MB | PILOTO LED DE EMBUTIR 220VCA-CC AMARILLO
'B6EV674MB | PILOTO LED DE EMBUTIR 220VCA-CC ROJO
'B6EV673MB | PILOTO LED DE EMBUTIR 220VCA-CC VERDE
'B6EV676EB | PILOTO LED DE EMBUTIR 48VCA-CC AZUL
'B6EV671EB | PILOTO LED DE EMBUTIR 48VCA-CC BLANCO
'B6EV675M | PILOTO MONOBLOQUE LENTE AMBAR. 230/110
'B6EV675BB | PILOTO MONOBLOQUE LENTE AMBAR. 24VCA/C
'B6EV675EB | PILOTO MONOBLOQUE LENTE AMBAR. 48VCA/C
'B6EV674M | PILOTO MONOBLOQUE LENTE ROJO. 230/110VC
'B6EV674EB | PILOTO MONOBLOQUE LENTE ROJO. 48VCA/CC
'B6EV673M | PILOTO MONOBLOQUE LENTE VERDE. 230/110V
'B6EV673BB | PILOTO MONOBLOQUE LENTE VERDE. 24VCA/CC
'B6EV673EB | PILOTO MONOBLOQUE LENTE VERDE. 48VCA/CC
'B6EV675Q | PILOTO MONOBLOQUE LENTE AMBAR 380V
'B6EV676M | PILOTO MONOBLOQUE LENTE AZUL. 230/110VC
'B6EV671M | PILOTO MONOBLOQUE LENTE BLANCO. 230/110V
'B6EV674Q | PILOTO MONOBLOQUE LENTE ROJO 380V
'B6EV674BB | PILOTO MONOBLOQUE ROJO C/LED 24VCA/CC
'PLD453M | PILOTO SEÑALIZACION DIN ROJO-AMBAR-VERD
'RUMTF-10AD | PROT. DE TENSION DIGITAL FICHA-TOMA 10A
'PVA-40A P1 | PROTECCION VOLTAMP DIGITAL MONOFASICA 40
'PVA-63A P | PROTECCION VOLTAMP DIGITAL MONOFASICA 63
'RU400F63 P | PROTECCION Y MONITOR VOLTAMP 63A TRI-MON
'RU230F40 | PROTECTOR DE TENSION 2P 220V - 40A
'RU230F80 | PROTECTOR DE TENSION 2P 220V - 80A
'RU230C-54V | PROTECTOR MONO 7.3KW CONF. DISPLAY
'RU230-63C | PROTECTOR V-A MONOFASICO SMART WIF 1DIN
'PVA-63A P1 | PROTECTOR V-A MONOFASICO SMART WIF 63A
'64819 | PUENTE AISLADO 1P 12MOD 80/100A BAW
'64829 | PUENTE AISLADO 1P 56MOD 80/100A BAW
'64832 | PUENTE AISLADO 2P 18MOD 80/100A BAW
'64833 | PUENTE AISLADO 2P 56MOD 80/100A BAW
'64843 | PUENTE AISLADO 3P 18MOD 80/100A BAW
'64844 | PUENTE AISLADO 3P 57MOD 80/100A BAW
'64855 | PUENTE AISLADO 3P+N 54MOD 80/100A BAW
'64851 | PUENTE AISLADO 4P 56MOD 80/100A BAW
'64835 | PUENTE DE UNION AIS. BORNES HORQ. 9X2P
'RA4P05TLM7 | RELE AUX.BAW 4P 5A BOB.220VCA TEST/LED
'RA4P05TLB7 | RELE AUX.BAW 4P 5A BOB.24VCA TEST/LED
'RA4P05TLBD | RELE AUX.BAW 4P 5A BOB.24VDC TEST/LED
'RA4P05-M7 | RELE AUX.BAW 4P BOB.220VCA I=5A
'RA4P05-B7 | RELE AUX.BAW 4P BOB.24VCA I=5A
'RAM308BM7BD | RELE AUXILIAR 3 O-C 24-220V
'RUT34-2MD | RELE DE PROTECCION TRIF/MONO DIGITAL 380
'RUT33-2MD | RELE DE PROTECCION TRIFASICA DIGITAL 380
'RUT34-1M | RELE P/TRANSFERENCIA AUTOMATICA 3F4H
'RTB102 | RELE TERMICO BAW 0 16-0 25A (A12-A32)
'RTB103 | RELE TERMICO BAW 0 25-0 40A (A12-A32)
'RTB104 | RELE TERMICO BAW 0 40-0 63A (A12-A32)
'RTB105 | RELE TERMICO BAW 0 63-1A (A12-A32)
'RTB107 | RELE TERMICO BAW 1 6-2 5A (A12-A32)
'RTB106 | RELE TERMICO BAW 1-1 6A (A12-A32)
'RTB108 | RELE TERMICO BAW 2 5-4A (A12-A32)
'RTB110 | RELE TERMICO BAW 4-6A (A12-A32)
'RTB112 | RELE TERMICO BAW 5 5-8A (A12-A32)
'RTB114 | RELE TERMICO BAW 7-10A (A12-A32)
'RTB116 | RELE TERMICO BAW 9-13A (A12-A32)
'RTB121 | RELE TERMICO BAW 12-18A (A18-A32)
'RTB122 | RELE TERMICO BAW 17-25A (A25-A32)
'RTB253 | RELE TERMICO BAW 23-32A (A25-A32)
'RTB353 | RELE TERMICO BAW 23-32A (A40-A95)
'RTB255 | RELE TERMICO BAW 28-36A (A32)
'RTB355 | RELE TERMICO BAW 30-40A (A40-A95)
'RTB357 | RELE TERMICO BAW 37-50A (A50-A95)
'RTB359 | RELE TERMICO BAW 48-65A (A50-A95)
'RTB361 | RELE TERMICO BAW 55-70A (A65-A95)
'RTB363 | RELE TERMICO BAW 63-80A (A80-A95)
'RTB365 | RELE TERMICO BAW 80-93A (A95)
'NS35/15-1 | RIEL DIN 35X15 (LARGO 1000MM)
'NS35/15-03 | RIEL DIN 35X15 (LARGO 300MM)
'NS35/7.5A-1 | RIEL DIN SIM+TRICO DE 35X7 5 (LARGO 1000
'HR171-4 | SECCIONADOR 4P P/FUSIBLE NT1 250A
'HR172-4 | SECCIONADOR 4P P/FUSIBLE NT2 400A
'HR1700 | SECCIONADOR BC 3P BAW 160A P/ NT00
'HR171 | SECCIONADOR BC 3P BAW 250A P/ NT 1
'HR172 | SECCIONADOR BC 3P BAW 400A P/ NT2
'HR173 | SECCIONADOR BC 3P BAW 630A P/ NT3
'HR1700-4 | SECCIONADOR BC 4P BAW 160A P/ NT00
'HR6-00 | SECCIONADOR FUSIBLE BC 160A 3P P/ NT00
'ISM101 | SECCIONADOR MODULAR 1P 100A
'ISM102 | SECCIONADOR MODULAR 2P 100A
'ISM103 | SECCIONADOR MODULAR 3P 100A
'ISM104 | SECCIONADOR MODULAR 4P 100A
'SF25-1 | SECCIONADOR PORTAFUSIBLE 10X38 1P DIN 25
'SF25-1X | SECCIONADOR PORTAFUSIBLE 10X38 1P DIN 25
'HR6-1 | SECCIONADORA FUSIBLE NT1 3P 250A
'HR6-2 | SECCIONADORA FUSIBLE NT2 3P 400A
'RUT34-2M1A | SELECTOR AUTOMATICO DE FASE - CONFIGURAB
'RU400F80 | SELECTOR AUTOMATICO DE FASE 63A C/MEDICI
'RU400F25 | SELECTOR AUTOMATICO DE FASE DIRECTO H/25
'TELE102BM | TELERRUPTOR 12-240VCC/CA SAL 2 C/O
'TELE161M | TELERRUPTOR MODULAR 1NO 16A 220VCA
'K41C10 | TERMICA DIN 1P-10A-4500A-C
'K41C16 | TERMICA DIN 1P-16A-4500A-C
'K41C20 | TERMICA DIN 1P-20A-4500A-C
'K41C25 | TERMICA DIN 1P-25A-4500A-C
'K41C32 | TERMICA DIN 1P-32A-4500A-C
'K41C40 | TERMICA DIN 1P-40A-4500A-C
'K41C50 | TERMICA DIN 1P-50A-4500A-C
'K41C63 | TERMICA DIN 1P-63A-4500A-C
'K41C06 | TERMICA DIN 1P-6A-4500A-C
'K42C10 | TERMICA DIN 2P-10A-4500A-C
'K42C16 | TERMICA DIN 2P-16A-4500A-C
'K42C20 | TERMICA DIN 2P-20A-4500A-C
'K42B25 | TERMICA DIN 2P-25A-4500A-B
'K42C25 | TERMICA DIN 2P-25A-4500A-C
'K42B32 | TERMICA DIN 2P-325A-4500A-B
'K42C32 | TERMICA DIN 2P-325A-4500A-C
'K42B40 | TERMICA DIN 2P-40A-4500A-B
'K42C40 | TERMICA DIN 2P-40A-4500A-C
'K42C50 | TERMICA DIN 2P-50A-4500A-C
'K42C63 | TERMICA DIN 2P-63A-4500A-C
'K42C06 | TERMICA DIN 2P-6A-4500A-C
'K43C10 | TERMICA DIN 3P-10A-4500A-C
'K43C16 | TERMICA DIN 3P-16A-4500A-C
'K43C20 | TERMICA DIN 3P-20A-4500A-C
'K43C25 | TERMICA DIN 3P-25A-4500A-C
'K43C32 | TERMICA DIN 3P-32A-4500A-C
'K43C40 | TERMICA DIN 3P-40A-4500A-C
'K43C50 | TERMICA DIN 3P-50A-4500A-C
'K43C63 | TERMICA DIN 3P-63A-4500A-C
'K43C06 | TERMICA DIN 3P-6A-4500A-C
'K44C10 | TERMICA DIN 4P-10A-4500A-C
'K44C16 | TERMICA DIN 4P-16A-4500A-C
'K44C20 | TERMICA DIN 4P-20A-4500A-C
'K44C25 | TERMICA DIN 4P-25A-4500A-C
'K44C32 | TERMICA DIN 4P-32A-4500A-C
'K44C40 | TERMICA DIN 4P-40A-4500A-C
'K44C50 | TERMICA DIN 4P-50A-4500A-C
'K44C63 | TERMICA DIN 4P-63A-4500A-C
'K44C06 | TERMICA DIN 4P-6A-4500A-C
'PTD2 | TERMOSTATO DIGITAL -20/130° 220V
'MG-JT2W | TOMA DOBLE SMART WIFI 10A BLANCO
'MG-JT1USBW | TOMA SIMPLE SMART WIFI 10A +USB BLANCO
'TPSWIFI-101 | TOMA SMART WIFI 10A 2200VA
'VAMD100CA4 | VOLT-AMP DIG 1 DIN 100A-500V ROJO
'VAMD100CA3 | VOLT-AMP DIG 1 DIN 100A-500V VERDE
'DP-96/V-A-H | VOLT-AMP-FREC.BAW 600VAC 5A 60/2000A 10-
'DP-96/600V | VOLTIMETRO BAW DIG.600VCA 110/220VCA
'VMD500CA3 | VOLTIMETRO DIN DIGITAL 1 MODULO 80-500VA
'VMD500CA4 | VOLTIMETRO DIN DIGITAL 1 MODULO 80-500VA
'ZA4P05B | ZOCALO P/RELE AUX.BAW 4P IP20 RA4P05
'PL1001-C-S | 4 CLIPS P/MONTAJE PANEL 60X60
'BL3.6V4.4AH | BATERIA DE LITIO 3.6V 4.4AH P/LLED30X40H
'BL3.7V1.2AH | BATERIA LITIO 3 7V-1.2AH P/LLED30DP-L
'BL3.7V1.8AH | BATERIA LITIO 3.7V 1.8AH P/LLEDE60M
'CABLE-15B | CABLE 15CM CON FICHA DOBLE P-MINILISTON
'CABLE-15 | CABLE 15CM P-MINI LISTON
'CABLE-100 | CABLE 1MTS P-MINI LISTON
'ADAPTE4027 | CASQUILLO ADAPTADOR E40 A E27 8A
'DR0910-12W | DRIVER PANEL LED 12W
'DR0910-18W | DRIVER PANEL LED 18W
'DR0910-24W | DRIVER PANEL LED 24W
'DR6X6-40W | DRIVER PANEL LED 60X60 40W
'DR0910-6W | DRIVER PANEL LED 6W
'A60DS10C | LAMPARA LED A60 -10W- 220V- E27 LUZ CALI
'A60LG11C | LAMPARA LED A60 11W E27 C/SENSOR DIA-NOC
'A60LG11F | LAMPARA LED A60 11W E27 C/SENSOR DIA-NOC
'A60DS12C | LAMPARA LED A60 12W 220V E27 CALIDA
'A60DS12F | LAMPARA LED A60 12W 220V E27 FRIA
'A60L13CWD | LAMPARA LED A60 13W E27 C/SENSOR DE MOVI
'A60DS15C | LAMPARA LED A60 15W 220V E27 CALIDA
'A60DS15F | LAMPARA LED A60 15W 220V E27 FRIA
'A60DS7C | LAMPARA LED A60 7W 220V E27 CALIDA
'A60DS7F | LAMPARA LED A60 7W 220V E27 FRIA
'A60L9-3FLX | LAMPARA LED A60 9W E27 DIMMERIZABLE C/TE
'A60TY10W | LAMPARA LED A60 SMART 10W 220V E27 2700-
'A60DS10F | LAMPARA LED A60- 10W 220V E27 LUZ FRIA
'T150L100F | LAMPARA LED ALTA POTENCIA 100W 220V E27
'T170L150F | LAMPARA LED ALTA POTENCIA 150W 220V E27
'T190L200F | LAMPARA LED ALTA POTENCIA 200W 220V E27
'T080L20F | LAMPARA LED ALTA POTENCIA 20W 220V E27
'T080L20C | LAMPARA LED ALTA POTENCIA 20W 220V E27 C
'T100L30F | LAMPARA LED ALTA POTENCIA 30W 220V E27
'T100L30C | LAMPARA LED ALTA POTENCIA 30W 220V E27 C
'LPS30C | LAMPARA LED ALTA POTENCIA 30W220V E27 CA
'LPS30F | LAMPARA LED ALTA POTENCIA 30W220V E27 FR
'T120L40F | LAMPARA LED ALTA POTENCIA 40W 220V E27
'T120L40C | LAMPARA LED ALTA POTENCIA 40W 220V E27 C
'T140L50F | LAMPARA LED ALTA POTENCIA 50W 220V E27
'T140L50C | LAMPARA LED ALTA POTENCIA 50W 220V E27 C
'V1L60CE40 | LAMPARA LED ALTA POTENCIA 60W 220V E40 C
'M1L60CE40 | LAMPARA LED ALTA POTENCIA 60W 220V E40 C
'V1L60FE40 | LAMPARA LED ALTA POTENCIA 60W 220V E40 F
'M1L60FE40 | LAMPARA LED ALTA POTENCIA 60W 220V E40 F
'V1L80FE40 | LAMPARA LED ALTA POTENCIA 80W 220V E40
'T120L80F | LAMPARA LED ALTA POTENCIA 80W 220V E27 F
'V1L80CE40 | LAMPARA LED ALTA POTENCIA 80W 220V E40 C
'A60L11CE | LAMPARA LED ANTI-INSECTOS 10W E27 AMARIL
'AR111L14C2M | LAMPARA LED AR111 13 5W 220V-GU10 CALIDA
'AR111L14M2M | LAMPARA LED AR111 13 5W 220V-GU10 FRIA
'A70EME10WC | LAMPARA LED AUTONOMA 10W E27 CALIDA C/BA
'A70EME10WF | LAMPARA LED AUTONOMA 10W E27 FRIA C/BATE
'G4-4WC | LAMPARA LED BIPIN G4 12VAC-CC 4W CALIDA
'G4-4WF | LAMPARA LED BIPIN G4 12VAC-CC 4W FRIA
'G9-10WC | LAMPARA LED BIPIN G9 10W 220V CALIDA
'G9-10WF | LAMPARA LED BIPIN G9 10W 220V FRIA
'G9-12WC | LAMPARA LED BIPIN G9 12W 220V CALIDA
'G9-12WF | LAMPARA LED BIPIN G9 12W 220V FRIA
'G9-4.5WC | LAMPARA LED BIPIN G9 4.5W 220V CALIDA
'G9-4.5WF | LAMPARA LED BIPIN G9 4.5W 220V FRIA
'G9-6WC | LAMPARA LED BIPIN G9 6W 220V CALIDA
'G9-6WF | LAMPARA LED BIPIN G9 6W 220V FRIA
'G9-8WC | LAMPARA LED BIPIN G9 8W 220V CALIDA
'G9-8WF | LAMPARA LED BIPIN G9 8W 220V FRIA
'GU10LS7C105 | LAMPARA LED DICRO GU10 7W 220V CALIDA
'GU10L7C105D | LAMPARA LED DICRO GU10 7W 220V CALIDA
'GU10LS7F105 | LAMPARA LED DICRO GU10 7W 220V FRIA
'GU10L7F105D | LAMPARA LED DICRO GU10 7W 220V FRIA
'GU10LF9C60 | LAMPARA LED DICRO GU10 9W 220V CALIDA
'GU10LF9F60 | LAMPARA LED DICRO GU10 9W 220V FRIA
'GU10TY7105 | LAMPARA LED DICROICA SMART 7W 220V GU10
'ST64L7C | LAMPARA LED FILAMENTO 7W ST64 VINTAGE E2
'G125L8C | LAMPARA LED FILAMENTO GLOBO VINTAGE G125
'G95L6C | LAMPARA LED FILAMENTO GLOBO VINTAGE G95
'G95LS15C | LAMPARA LED GLOBO G95 15W CALIDA E27
'G95LS15F | LAMPARA LED GLOBO G95 15W FRIA E27
'G45LS5C | LAMPARA LED GOTA 5.5W 220V-E27 CALIDA
'G45LS5F | LAMPARA LED GOTA 5.5W 220V-E27 FRIA
'G45L4C | LAMPARA LED GOTA FILAMENTO 4.5W 220V E27
'A60LS6CS | LAMPARA LED GOTA FILAMENTO 6W 220V-E27 C
'B35L5C | LAMPARA LED VELA 4.5W 470LM E27 CALIDA
'B35L5CCE14 | LAMPARA LED VELA 5W 470LM E14 CALIDA
'C35LS4CS | LAMPARA LED VELA FILAMENTO 4W 220V-E14 C
'UFO100YF | LUMINARIA LED UFO 100W 220V 6500K H-BAY
'UFO200YF | LUMINARIA LED UFO 200W 220V 6500K H-BAY
'LLED30X40H | LUZ DE EMERGENCIA 30 LEDS 40H
'LLED30DP-L | LUZ DE EMERGENCIA 30 LEDS 6H
'LLEDE60M | LUZ DE EMERGENCIA 60 LEDS 10H
'PL1001-C-C | MARCO P/MONTAJE PANEL C/PLAFON
'MBT5L14W65T | MINI LISTON LED 220V 14W 6500K C-TECLA
'MBT5L18W65T | MINI LISTON LED 220V 18W 6500K C-TECLA
'MBT5L5W65T | MINI LISTON LED 220V 5W 6500K C-TECLA
'MBT5L9W65T | MINI LISTON LED 220V 9W 6500K C-TECLA
'PLE010-18FW | PANEL LED EMBUTIR CUADRADO 18W FRIA
'PLE010-24CW | PANEL LED EMBUTIR CUADRADO 24W CALIDA
'PLE010-24FW | PANEL LED EMBUTIR CUADRADO 24W FRIA
'PLE009-12CW | PANEL LED EMBUTIR REDONDO 12W CALIDA
'PLE009-12FW | PANEL LED EMBUTIR REDONDO 12W FRIA
'PLE009-18FW | PANEL LED EMBUTIR REDONDO 18W FRIA
'PLE009-24CW | PANEL LED EMBUTIR REDONDO 24W CALIDA
'PLE009-24FW | PANEL LED EMBUTIR REDONDO 24W FRIA
'PLE010-18CW | PANEL LED EMBUTIR CUADRADO 18W CALIDA
'PLE009-18CW | PANEL LED EMBUTIR REDONDO 18W CALIDA
'PL6X6-340W | PANEL LED 60X60 40W FRIA
'PLE010-12CW | PANEL LED EMBUTIR CUADRADO 12W CALIDA
'PLE010-12FW | PANEL LED EMBUTIR CUADRADO 12W FRIA
'PLE010-6CW | PANEL LED EMBUTIR CUADRADO 6W CALIDA
'PLE010-6FW | PANEL LED EMBUTIR CUADRADO 6W FRIA
'PLE009-6CW | PANEL LED EMBUTIR REDONDO 6W CALIDA
'PLE009-6FW | PANEL LED EMBUTIR REDONDO 6W FRIA
'PLS010-12CW | PLAFON LED APLICAR CUADRADO 12W CALIDA
'PLS010-12FW | PLAFON LED APLICAR CUADRADO 12W FRIA
'PLS010-18CW | PLAFON LED APLICAR CUADRADO 18W CALIDA
'PLS010-18FW | PLAFON LED APLICAR CUADRADO 18W FRIA
'PLS010-24CW | PLAFON LED APLICAR CUADRADO 24W CALIDA
'PLS010-24FW | PLAFON LED APLICAR CUADRADO 24W FRIA
'PLS010-6CW | PLAFON LED APLICAR CUADRADO 6W CALIDA
'PLS010-6FW | PLAFON LED APLICAR CUADRADO 6W FRIA
'PLS009-12CW | PLAFON LED APLICAR REDONDO 12W CALIDA
'PLS009-12FW | PLAFON LED APLICAR REDONDO 12W FRIA
'PLS009-18CW | PLAFON LED APLICAR REDONDO 18W CALIDA
'PLS009-18FW | PLAFON LED APLICAR REDONDO 18W FRIA
'PLS009-24CW | PLAFON LED APLICAR REDONDO 24W CALIDA
'PLS009-24FW | PLAFON LED APLICAR REDONDO 24W FRIA
'PLS009-6CW | PLAFON LED APLICAR REDONDO 6W CALIDA
'PLS009-6FW | PLAFON LED APLICAR REDONDO 6W FRIA
'GU10-1 | PORTALAMPARA CERAMICO GU10
'RL-100F | REFLECTOR LED 220V 100W IP65 6500K
'RL8001-10F | REFLECTOR LED 220V 10W IP65 6500K
'RL-150F | REFLECTOR LED 220V 150W IP65 6500K
'RL-200F | REFLECTOR LED 220V 200W IP65 6500K
'RL8002-20F | REFLECTOR LED 220V 20W IP65 6500K
'RL8003-30F | REFLECTOR LED 220V 30W IP65 6500K
'RL8005-50F | REFLECTOR LED 220V 50W IP65 6500K
'RL8007-70F | REFLECTOR LED 220V 70W IP65 6500K
'RLS8002-20F | REFLECTOR LED C/SENSOR 20W IP44 6500K
'RLS8003-30F | REFLECTOR LED C/SENSOR 30W IP44 6500K
'T8G110L4565 | TUBO LED 45W=110W 220V G13/R17D FRIA 2 P
'T8G36L18-65 | TUBO LED T8 17W 220V G13 FRIA 2 PUNTAS 1
'T8G58L24-65 | TUBO LED T8 24W 220V G13 FRIA 2 PUNTAS 1
'T8G18L9-65 | TUBO LED T8 9W 220V G13 FRIA 2 PUNTAS 60
'T8G36R18-65 | TUBO LED T8 VIDRIO 18W G13 1 LADO FRIA 1
'T8G58R24-65 | TUBO LED T8 VIDRIO 24W G13 FRIA 1 PUNTA
'T8G18R9-65 | TUBO LED T8 VIDRIO 9W G13 1 LADO FRIA 1